# ATTACHMENT 3 - RESPONSE FORM

To: Claire Hynes

Email: DCUSA@electralink.co.uk

Fax: 020 7432 3014

Name: 	Franck Latrémolière

Organisation: 	Peel Ports Group Limited

Role: 		Customer

Email Address: f20@reckon.co.uk

Phone Number: 020 7841 5858

Response: Non-Confidential

Q1 Do you understand the intent of the Change Proposal (CP)?

The text in the intent box of the DCP form reads: “To amend the common ‘Statement of Methodology and Charges for Connection’, which is governed by the DCUSA, to include connection charging arrangements associated with ‘non-secure’ connections and to provide accompanying illustrative examples”. Paragraph 2.3 of the consultation document is similar. Against this, Appendix A to the DCP form, and the draft legal text in the consultation document, go far beyond the stated intent by seeking to change the apportionment rules for secure connections. This is wrong and casts confusion over the true intent of the DCP. I understand the intent of the change proposal to be the text in the intent box of the DCP form.

Q2 Are you supportive of the principles of the CP?

The principles in respect of non-secure connections seem largely fine, with the exception of whatever principle the third paragraph in the proposed definition of New Network Capacity would implement. The inclusion of changes to apportionment arrangements for secure connections within a DCP entitled “Non-Secure Connections in the Common Connections Charging Methodology” looks like a serious failure of the DCUSA governance process, since many affected parties might have decided not to examine the proposals in detail on the assumption that they related to non-secure connections. Even if the changes were good, the process would have been intolerable. I do not support the principle of making changes to apportionment for secure connections under the cover of a DCP entitled “Non-Secure Connections in the Common Connections Charging Methodology”. Leaving aside this major deficiency in the process, I think that the proposed changes to apportionment for secure connections are bad changes (see answers to Q3 and Q4). I do not support the principles underpinning them.

Q3 Do you agree with the revised definition of ‘New Network Capacity’? Please provide supporting reasons for your view.

The first two paragraphs seem appropriate. The third paragraph affects secure connections. Making that change under cover of a DCP entitled “Non-Secure Connections in the Common Connections Charging Methodology” would be unacceptable. The wording in the third paragraph is poor and unclear: how does a power flow “determine” a Reinforcement? To determine which is the “larger” power flow, do I need to measure power flows at the point of connection (to/from the new development) or power flows on the relevant network assets? The third paragraph should be removed.

Q4 Do you agree with the new definition of ‘Relevant Section of Network’? Please provide supporting reasons for your view.

This change would affect secure connections. Making that change under cover of a DCP entitled “Non-Secure Connections in the Common Connections Charging Methodology” would be unacceptable. DCP 162 should only modify the definition to the extent necessary to meet its intent as stated in the intent box of the DCP form. This does not seem to require any modification to the definition of Relevant Section of Network. Paragraph 3.11 of the DCP 167 consultation says “[some members of the DCP 167 working group] believe that any new definitions would need careful consideration in order to avoid risk of unintended consequences and across the full range of connection scenarios.” This is correct and the same applies here. The proposed DCP 162 text has adverse unintended consequences. Here are a few examples. By limiting the Relevant Section of Network to parts of the network that require reinforcement, the proposed text seems to exclude new circuits or transformers that are added in parallel to the existing network to reinforce it. For example, in example 8B, the reliance on the current definition is explicit within the example: “The RSN is considered to be the three feeder 11kV network comprising the two feeders from Primary Substation A and the new feeder from Primary Substation B as any of these can be used to supply the Customer in normal and outage conditions.” (my underline) The sentence starting “Normally” seems to try to ameliorate these defects by giving an example where new assets are included in the Relevant Section of Network. But there seems to be a conflict between the first sentence which is a definition and the second sentence which describes something “normal” that does not fall within the four corners of the definition. That is a terrible source of ambiguity. The sentence starting “Normally” may be too narrowly drafted. Sometimes the new assets provided to reinforce part of the network are not at the same voltage level as the assets that would have been used to connect the customer if there had been sufficient capacity. For example if a HV customer that cannot be accommodated on the existing HV network due to lack of capacity, there might be 33 kV reinforcement assets being built and they should be in the Relevant Section of Network. Perhaps it is possible to twist the words in the new definition to make them say that, but the fact remains that the new definition is less clear than the old and the change is not necessary. The last sentence of the proposed definition is unclear. I am unsure what it is trying to say (outside the specific example put forward). It implies that the Relevant Section of Network comprises only existing assets, which would be a major change from the current arrangements (see for example Example 8B), and a bad change. The proposed text loses the reference to “normal and abnormal running arrangements” which is in the current definition. This creates a risk that someone might, in the future, argue that assets that are needed only to provide capability to meet the customer’s demand after a first circuit outage are not in the Relevant Section of Network. Whilst such an approach might seem like an obvious error to us now, it is important that the text of the connection charging methodology should have as little vulnerability as possible to errors by future users of the statement who might not have the same background knowledge and expertise as DCP 162 working group members. The removal of the reference to “normal and abnormal running arrangements” increases the risk of future errors, and is not necessary or appropriate to meet the intent of DCP 162. All the changes to the definition of Relevant Section of Network should be reversed.

Q5 Do you agree with the amendments to the existing Examples? Please provide supporting reasons for your view.

Some cross-references seem to be broken. The change to the description of the Relevant Section of Network in example 6 is inappropriate and is not necessary to meet the intent in the intent box of the DCP form. The amended examples are in conflict with the proposal to change the definition of the Relevant Section of Network, see for example Example 8B. To resolve this conflict, the definition of Relevant Section of Network should not be changed.

Q6 Do you feel that the proposed new Examples 11, 12 and 13 adequately illustrate appropriate charging principles for connections with a non-secure element? Please provide supporting reasons for your view.

Example 11 and Example 12 seem fine. Example 13 is out of the scope set by the title and intent box of the DCP form. It should be removed from the legal text for this DCP. Something like Example 13 could only legitimately be considered as part of a DCP with the transparent objective to change apportionment arrangements for secure connections.

Q7 In Example 13, do you support applying a maximum number of feeders in the CAF calculation? Please provide supporting reasons for your view.

Example 13 is out of the scope set by the title and intent box of the DCP form. It should be removed from the legal text for this DCP. Something like Example 13 could only legitimately be considered as part of a DCP with the transparent objective to change apportionment arrangements for secure connections. I would not be inclined to support an arbitrary rule limiting the Relevant Section of Network to a set number of feeders unless it had been properly put forward in a transparent consultation, been justified (e.g. by reference to cost reflectivity), and been accompanied by clear and unambiguous legal text. None of these conditions are met, and I do not support applying a maximum number of feeders in the CAF calculation.

Q8 If you do support applying a maximum number of feeders in the CAF calculation, should the value be 3, 4 or some other value? Please provide supporting reasons for your view.

N/A

Q9 Are there any alternative solutions or matters that should be considered by the Working Group?

The working group should restrict itself to the scope set by the title and intent box of the DCP form.

Q10 Are you aware of any wider industry developments that may impact upon or be impacted by this CP? If so, please give details, and comment on whether the benefit of the change may outweigh the potential impact and whether the duration of the change is likely to be limited.

Subject to the removal of changes to the Relevant Section of Network and to apportionment for secure connections, none. There would be an adverse impact on DCP 167 (if approved) if the defective definitions proposed in the DCP 162 consultation were adopted (see responses to Q3 and Q4). No benefit would outweigh the impact. The duration of the harm caused would not be limited.

Q11 Which DCUSA General Objectives does the CP better facilitate? Please provide supporting comments. The development, maintenance and operation by each of the DNO Parties and IDNO Parties of an efficient, co-ordinated, and economical Distribution System. The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent with that) the promotion of such competition in the sale, distribution and purchase of electricity. The efficient discharge by each of the DNO Parties and IDNO Parties of the obligations imposed upon them by their Distribution Licences. The promotion of efficiency in the implementation and administration of this Agreement and the arrangements under it. compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators.

Subject to the removal of changes to the Relevant Section of Network and to apportionment for secure connections, the change better facilitates number 4, if the application of the connection charging methodology can be considered to be part of the implementation and administration of DCUSA (even though the connection charging methodology has no contractual effect between DCUSA parties). This is because aligning the text of the methodology with the outcome of Ofgem determination RBA/TR/A/DET/160 is helpful. If any of the changes to the Relevant Section of Network and to apportionment for secure connections are retained, then there is a strong negative impact on number 4. This is because hiding changes to apportionment for secure connections under the cover of a DCP entitled “Non-Secure Connections in the Common Connections Charging Methodology” would have been an abuse of process and a failure of open governance.

Q12 Which DCUSA Charging Objectives does the CP better facilitate? Please provide supporting comments. that compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence. that compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences). that compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business. that, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business. that compliance by each DNO Party with the Charging Methodologies facilitates compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators.

Subject to the removal of changes to the Relevant Section of Network and to apportionment for secure connections, the change better facilitates number 3. This is because a methodology better aligned with Ofgem determinations is likely to be fairer and more cost-reflective since interested parties have a better chance of understanding it and challenging any errors. If the changes to the Relevant Section of Network and to apportionment for secure connections are retained, then there is a negative impact on number 3. This is because the proposed drafting is poor and ambiguous. Subject to the removal of changes to the Relevant Section of Network and to apportionment for secure connections, and if the affected distributors consider that an Ofgem can be seen as a development in their business, then the change better facilitates number 4.

Q13 Are you supportive of the revised implementation date which is proposed?

Subject to the removal of changes to the Relevant Section of Network and to apportionment for secure connections, yes. Otherwise, no.

Q14 Do you have any additional comments on the proposed legal text?

Please remove the changes to the Relevant Section of Network and any other changes to the apportionment arrangements that affect secure connections. The word “secure” is used but not defined. Whilst it might be a good word to use in informal technical documents, we must be more careful with the methodology statement itself as that needs to be in sufficiently plain English to be capable of being litigated in a reasonably predictable manner. My dictionary does not provide any definition of the word “secure” which is remotely suitable. I don’t think that P2/6 defines or uses the term in the way that it is used in the in DCP 162 draft. I am unsure how secure capacity would be measured in the case where there is a group demand of more than 60 MW (where resilience to a second outage becomes relevant under P2/6); I could not find anything addressing that point in the consultation document. Perhaps aligning the terminology in the connection charging statement with the more precise use of words that is in P2/6 would be helpful. For example, P2/6 talks about things like “the capability to meet a Group Demand after First and Second Circuit Outages”, which might be a basis for a more precise wording than “secure capacity”.

Please complete and return to dcusa@electralink.co.uk no later than Wednesday, 02 October 2013.

# Footnotes

All responses will be treated as non-confidential unless indicated otherwise.